ADAPTER WITH CAP

Task Force Tips model # A01TJNJ-RED thread adapter with blind cap shall be provided. The adapter and cap shall be constructed of hardcoat anodized aluminum alloy for corrosion protection. The adapter shall have 2-1/2 female NPT thread inlet and 2-1/2” male NH thread outlet. The cap shall have 2-1/2" female NH thread and cable lanyard with eye hole. The adapter and cap shall be powder coated American red. The unit shall be covered by a five-year warranty.