SUCTION HOSE LOW-LEVEL STRAINER

Task Force Tips Model # A03HNR suction hose low-level strainer shall be provided. The strainer shall be made from hard anodized and powder coated aluminum alloy and stainless steel. Suction hose coupling shall be attached with corrosion resistant nylon bearing strip, allowing easy swiveling. A large clog-resistant stainless steel filter screen shall be standard and allow clearing without tools. Low level strainer shall be designed to allow suction from minimal depths with minimal friction loss. Suction hose coupling pivot shall have 45 range of motion. A large carrying handle shall be standard. Strainer shall have serial number and a 5-year warranty.

Suction strainer shall have 4-1/2" NH female swivel long handle coupling.