HYDRANT ADAPTER AND CAP

Task Force Tips model #A04NR-SX hydrant adapter shall be provided. For corrosion resistance, the adapter shall be constructed of hardcoat anodized aluminum alloy and include a polymer bearing ring for prevention of galvanic corrosion. The adapter and cap shall meet a 900 PSI hydrostatic test and comply with the current NFPA 1965 Standard. The adapter shall be configured with a 6" rigid Storz coupling with lock and permanently secured 6” Storz blind cap with lanyard, and a 4-1/2" female NH rigid rocker lug coupling with set screws for anti-tamper installation. Reflective, colored labeling in blue, green, orange and red shall be included. The unit shall be covered by a five-year warranty.