BLIND PLUG

Task Force Tips model # A05NF blind plug shall be provided. The plug shall be constructed of hardcoat anodized aluminum alloy for corrosion protection. The plug shall have 1-1/2" male NH thread and cable lanyard with eye hole. The unit shall be covered by a five-year warranty.