AUTOMATIC DRAIN VALVE

Task Force Tips model #A1023-KIT automatic drain valve kit shall be provided. The valve shall allow automatic draining of VUM valve when not pressurised. For corrosion resistance the aluminum valve shall be hardcoat anodized  The valve shall be configured to fit one of the four ports of a Task Force Tips Valve Under Monitor. The unit shall be covered by a five-year warranty.