PRESSURE RELIEF VALVE ADAPTER

Task Force Tips model #A1100 pressure relief valve adapter shall be provided. The adapter shall have a Waterous/Hale flange for bolting to Task Force Tips pressure relief valve and shall have NPT pipe thread for installation into plumbing. For corrosion resistance the aluminum adapter shall be hardcoat anodized. The valve shall be configured with a 2-1/2" female NPT threaded inlet. The unit shall be covered by a five-year warranty.