LDH INLET SCREEN KIT

Task Force Tips model #A1411-KIT inlet screen shall be provided. The stainless steel inlet screen shall have multiple 3/8” hexagon shaped openings to filter debris when installed in TFT LDH couplings. The kit includes a bearing strip removal tool and related parts needed for installation in 6” Storz and threaded TFT couplings. The kit shall be covered by a five-year warranty.