PRESSURE RELIEF VALVE

Task Force Tips model #A1691-KIT pressure relief valve shall be provided. The valve shall have an easy to read adjustment range from 85 to 300 PSI. For corrosion resistance the aluminum valve shall be hardcoat anodized  The valve shall be configured to fit one of the four ports of a Task Force Tips Valve Under Monitor. The unit shall be covered by a five-year warranty.