LDH WATER THIEF

A Task Force Tips model # AL15T7T1 water thief shall be provided. The unit shall be configured with a 5" female NH swivel with long handles inlet and a 5” male NH rigid outlet, two (2) 2-1/2" male NH outlets. The side outlets shall have quarter-turn aluminum ball valves with full 2-1/2" waterway, and color-coded folding Nylon handles with auto-lock feature. A carrying/dragging strap shall be standard. The unit shall be equipped with an adjustable pressure relief valve. For corrosion resistance the unit shall be hardcoat anodized and shall have a durable silver powder coat interior and exterior finish. The unit shall have a unique serial number and be covered by a five-year warranty.