JUMBO SIAMESE

Task Force Tips model # AS9NN-SX lightweight aluminum Siamese fitting shall be provided. The fitting shall have a rugged carrying handle, lanyard attachment anchor point and be NFPA compliant with a 900 PSI hydrostatic test rating. A dual clapper valve shall be centrally located at the inlet side of the fitting.

For maximum corrosion protection the aluminum casting shall be hardcoat anodized, with stainless steel components. The fitting shall have a silver powder coat interior and exterior finish.

The fitting shall be configured with two (2) 3-1/2" female NH swivel rocker lug couplings and a 6" Storz swivel coupling and include polymer bearing strips for prevention of galvanic corrosion. The unit shall be covered by a five-year warranty.