INLINE VALVE

A Task Force Tips model # AVLNF-NF in-line ball valve shall be provided. The hardcoat anodized lightweight valve shall be configured with a 1-1/2" female NH swivel inlet and 1-1/2" male NH outlet. The valve shall have a polymer ball controlled by a long Nylon handle. The unit shall be covered by a five-year warranty.