PORTABLE ATTACK MONITOR HITCH MOUNT

Task Force Tips model # HPM-C portable lightweight attack monitor hitch mount for the Task Force Tips Hemisphere monitor shall be supplied.

The hitch mount shall allow a Hemisphere portable monitor to be attached for use. The hitch mount shall be capable of attaching to a 2” trailer hitch ball mount using the existing ball, nut and lock washer. For corrosion resistance the mount shall be hardcoat anodized aluminum alloy. The unit shall be covered by a five year warranty.