PORTABLE ATTACK MONITOR CROSS-PIN MOUNT

Task Force Tips model # HPM-E portable lightweight attack monitor cross-pin mount for the Task Force Tips Hemisphere monitor shall be supplied.

The cross-pin mount shall allow a Hemisphere portable monitor to be attached for use or storage. The cross-pin mount shall attach to a Task Force Tips mounting block model # HPM-D, or the backbone of model #HPM-A clamp/hitch mount.  A detented pin shall hold the mount in place and shall stay attached to prevent loss or misplacement. For corrosion resistance the mount shall be hardcoat anodized aluminum alloy. The unit shall be covered by a five year warranty.