FIXED GALLONAGE NOZZLE

Task Force Tips Metro 1, model # ME1-TOS-M fixed gallonage nozzle tip shall be provided. The nozzle design shall allow for straight stream through wide fog patterns and be able to be flushed without shutting down. For corrosion resistance and durability the nozzle shall be constructed from hardcoat anodized aluminum alloy, have a rubber bumper, stainless steel spinning fog teeth, stainless steel inlet debris screen and green reflective labeling for Memphis Fire Department.

The nozzle shall have flow and pressure capabilities of 185 GPM @ 50 PSI.

The nozzle shall have a 1-1/2" female NH rigid rocker lug inlet and be designed to accept the Task Force Tips FJ-LX-HM low expansion or FJ-MX-HM medium expansion foam attachments. The unit shall be covered by a five-year warranty.