1250 GPM FIXED LOCATION MONITOR

Task Force Tips model # XFIH-D71A industrial fire fighting monitor shall be supplied. The monitor shall be constructed from hardcoat anodized aluminum with a red powder coat internal and external finish. Rotation travel of 360 degrees shall be controlled through a handwheel with stainless steel worm gear. Vertical adjustment shall be controlled through a handwheel with stainless steel worm gear requiring eleven turns to move from a horizontal to vertical water stream flow. Elevation travel of 135 degrees from 90 degrees above to 45 degrees below horizontal. Grease fittings shall be located on all pivot points for durability and ease of maintenance and a threaded port shall be provided for a pressure gauge. The monitor shall have an automatic drain valve.

The monitor shall be configured with a 4” NPT female inlet and 2-1/2" male NH outlet threads and is capable of flowing 1250 GPM and have a maximum operating pressure of 175 PSI. The unit shall be covered by a five-year warranty.