
Storz BLIND CAP
Task Force Tips model #A01SJ lightweight, heat treated aluminum 65mm Storz cap with gasket shall be provided. A chain with eyelet for attachment shall also be supplied. Cap is provided without locking lever. The unit shall be covered by a five-year warranty.

