
SUCTION HOSE LOW-LEVEL STRAINER WITH FLOAT
Task Force Tips Model # A03SP-JET-F suction hose low-level strainer with float shall be provided. The strainer shall be made from hard anodized and powder coated aluminum alloy and stainless steel. Suction hose coupling shall be attached with corrosion resistant nylon bearing strip, allowing easy swiveling. A large clog-resistant stainless steel filter screen shall be standard and allow clearing without tools. A large float shall be attached with a quick release lock pin. Strainer shall be designed to allow suction from low levels or when floating with minimal friction loss.  Suction hose coupling pivot shall have 45( range of motion. Jet siphon shall have 1-1/2” NH female swivel connection, and cap with lanyard attached. A large carrying handle shall be standard. Strainer shall have serial number and a 5-year warranty.
Suction strainer shall have 4" Storz coupling.


