
DOUBLE FEMALE ADAPTER
Task Force Tips model #AA7HNX-NX adapter shall be provided. For corrosion resistance, the adapter shall be constructed of hardcoat anodized aluminum alloy and include a polymer bearing ring for prevention of galvanic corrosion. The adapter shall meet a 900 PSI hydrostatic test and comply with the current NFPA 1965 Standard. The adapter shall be configured with two (2) 6" female NH swivel long handled couplings. The unit shall be covered by a five-year warranty.

