
HYDRANT GATE VALVE
Task Force Tips model #AC5BNJ-NJ manually operated gate valve shall be provided. The valve shall have a full flow waterway when full open.
The valve shall be controlled with a hand wheel operator which remains at a fixed elevation to avoid height restrictions.
For maximum corrosion protection the valve body shall be brass, with bronze internal parts. The valve shall be configured with a 2-1/2" female NH swivel coupling and a 2-1/2" male NH rigid coupling. The unit shall be covered by a five-year warranty.

