
LDH 3-WAY MANIFOLD
A Task Force Tips model # AL35P0 3-way manifold shall be provided. The unit shall be configured with a 4" female NH long handle swivel inlet and three (3) 2-1/2" male NH outlets. The outlets shall have quarter-turn aluminum ball valves with full 2-1/2" waterway, and color-coded folding Nylon handles with auto-lock feature. A carrying/dragging strap shall be standard. The unit shall be equipped with blank plate where an adjustable pressure relief valve may be added. A 3/4" female NPT threaded and plugged port shall allow the addition of an optional bleeder valve to exhaust excess air or water from the valve and hoseline. For corrosion resistance the unit shall be hardcoat anodized and shall have a durable silver powder coat interior and exterior finish. The unit shall have a unique serial number and be covered by a five-year warranty.

