
TEE VALVE
A Task Force Tips model # ATNF-ND tee valve shall be provided. The hardcoat anodized lightweight valve shall be configured with a 1-1/2" female NH rigid inlet, 1-1/2" male NH outlet and 1" male NH branch outlet. The branch outlet shall have a  stainless steel valve with a Nylon handle. The unit shall be covered by a five-year warranty.

