
HYDRANT MASTER VALVE STORAGE BRACKET
Task Force Tips model # AU-BRACKET Hydrant Master valve bracket shall be provided. The bracket shall be stainless steel, have mounting holes, and include a locking mechanism for securing a TFT Hydrant Master valve. The unit shall have a 5-year warranty.

