
QUARTER-TURN ELBOW HYDRANT VALVE
Task Force Tips model # AV5LHNJ-NJ quarter-turn ball hydrant valve shall be provided. The lightweight left hand 90° elbow valve shall be configured with a 2-1/2" female NH long handle swivel inlet and 2-1/2" male NH rigid outlet. The unit shall have quarter-turn aluminum ball valve with full 2-1/2" waterway, and folding Nylon handle with auto-lock feature. For corrosion resistance the valve shall be hardcoat anodized and shall have a durable silver powder coat interior and exterior finish. The unit shall be covered by a five-year warranty.

