
QUARTER-TURN HYDRANT VALVE
A Task Force Tips model # AV5NJ-NJ quarter-turn ball hydrant valve shall be provided. The lightweight valve shall be configured with a 2-1/2" female NH rocker lug swivel inlet and 2-1/2" male NH rigid outlet. The unit shall have quarter-turn aluminum ball valve with full 2-1/2" waterway, and folding Nylon handle with auto-lock feature. A 3/4" NPT female plugged bleeder valve port shall be standard. For corrosion resistance the valve shall be hardcoat anodized and shall have a durable silver powder coat interior and exterior finish. The unit shall be covered by a five-year warranty.

