
JUMBO WYE
Task Force Tips model #AW4SX-SX lightweight aluminum wye fitting shall be provided. The fitting shall have a rugged carrying handle, lanyard attachment anchor point and be NFPA compliant with a 900 PSI hydrostatic test rating.
For maximum corrosion protection the aluminum casting shall be hardcoat anodized. The fitting shall have a silver powder coat interior and exterior finish.
The fitting shall be configured with two (2) 6" swivel Storz couplings and a 6" swivel Storz coupling and include polymer bearing strips for prevention of galvanic corrosion. The unit shall be covered by a five-year warranty.

