
GATED HYDRANT WYE
A Task Force Tips model # AY5HNP-NJ gated wye shall be provided. The lightweight wye shall be configured with a 4" female NH swivel long handle inlet and two (2) 2-1/2" male NH outlets. The outlets shall have quarter-turn aluminum ball valves with full 2-1/2" waterway, and color-coded folding Nylon handles with auto-lock feature. A 1/4" NPT female plugged pressure gauge port, 3/4" NPT female plugged bleeder valve port, and carrying handle shall be standard. For corrosion resistance the wye shall be hardcoat anodized and shall have a durable silver powder coat interior and exterior finish. The unit shall be covered by a five-year warranty.

