
GATED SIAMESE
A Task Force Tips model # AY9SP-NJ gated Siamese shall be provided. The lightweight Siamese shall be configured with a 4" Storz swivel inlet and two (2) 2-1/2" female NH swivel outlets. The outlets shall have quarter-turn aluminum ball valves with full 2-1/2" waterway, and color-coded folding Nylon handles with auto-lock feature. A 1/4" NPT female plugged pressure gauge port, 3/4" NPT female plugged bleeder valve port, and carrying handle shall be standard. For corrosion resistance the Siamese shall be hardcoat anodized and shall have a durable silver powder coat interior and exterior finish. The unit shall be covered by a five-year warranty.

