
STANDPIPE GATED WYE
A Task Force Tips model # AYG-NJ-NF gated wye shall be provided. The lightweight wye shall be configured with a 2-1/2" female NH swivel rocker lug inlet and two (2) 1-1/2" male NH outlets. One male outlet shall be provided without a valve for direct connection to the fire hose. This outlet shall have an integral pressure gauge. The other outlet shall have a 1/4 turn aluminum ball valve with a Nylon folding handle. For corrosion resistance the valve shall be hard coat anodized and shall have a durable powder coat interior and exterior finish. The unit shall be covered by a five-year warranty.

