
GATED WYE
A Task Force Tips model # AYNJ-NF gated wye shall be provided. The lightweight wye shall be configured with a 2-1/2" female NH swivel rocker lug inlet and two (2) 1-1/2" male NH outlets. The outlets shall have 1/4 turn aluminum ball valves with color-coded Nylon folding handles. For corrosion resistance the valve shall be hardcoat anodized and shall have a durable powder coat interior and exterior finish. The unit shall be covered by a five-year warranty.

