
GATED WYE THIEF
A Task Force Tips model # AYT-NJ-NF gated wye/thief shall be provided. The lightweight wye shall be configured with a 2-1/2" female NH swivel inlet, one (1) 1-1/2" male NH outlet with a 1/4 turn aluminum valve controlled by a Nylon folding handle, and one (1) 2-1/2" male NH outlet without ball valve. This 2-1/2" outlet shall have an integral pressure gauge. For corrosion resistance the valve shall have a durable powder coat interior and exterior finish and be hardcoat anodized. The unit shall be covered by a five-year warranty.

