
DUAL AGENT NOZZLE
Task Force Tips model # B-DC1040BC dual agent (two inlets) nozzle shall be provided. The nozzle shall be designed to deliver dry chemical powder at a rate of five pounds per second and water or foam solution at a rate of 10 and 40 GPM at 100 PSI. The front portion of the dry chemical nozzle shall be designed with a straight through path, include straightening fins and withstand the abrasive nature of dry chemical powder. The water/foam solution Bubble Cup nozzle shall be configured for flow settings of 10 and 40 GPM at 100 PSI and be capable of producing either a fog or straight stream with the ability to instantly aspirate foam by sliding a sleeve forward.
For corrosion resistance and durability the nozzle shall be constructed from hardcoat anodized aluminum alloy, The dry chemical nozzle shall have six (6) position detent flow control stainless steel slide valve. The water/foam nozzle shall have a stainless steel ball valve. A single pistol grip handle shall be positioned below the nozzles.
The nozzle shall have two (2) 1" female NH swivel couplings. The unit shall have a unique serial number and be covered by a written five-year warranty.

