
DRY CHEM NOZZLE AND VALVE
Task Force Tips model # B-DC75-ID dual (two inlets) dry chem nozzle and valve shall be provided. The nozzle shall be designed to deliver dry chemical powder at a rate of five pounds per second and a separate valve shall be mounted parallel to the nozzle. The front portion of the dry chemical nozzle shall be designed with a straight through path, include straightening fins and withstand the abrasive nature of dry chemical powder. The separate valve shall have an inside bore of 3/4" and shall have 1" male NH outlet threads.
For corrosion resistance and durability the nozzle and valve shall be constructed from hardcoat anodized aluminum alloy, The dry chemical nozzle shall have six (6) position detent flow control stainless steel slide valve. The separate valve shall have a stainless steel ball. A single pistol grip handle shall be positioned below the nozzle and valve.
The nozzle and the valve shall each have 1" female NPSH swivel couplings. The unit shall have a unique serial number and be covered by a written five-year warranty.

