
DUAL AGENT NOZZLE
Task Force Tips model # B-DUAL-ND dual agent (two inlets) nozzle shall be provided. The nozzle shall be designed to deliver dry chemical powder at a rate of five pounds per second and water or foam solution at a rate of 10-125 GPM at 100 PSI. The front portion of the dry chemical nozzle shall be designed with a straight through path, include straightening fins and withstand the abrasive nature of dry chemical powder. The water/foam solution Ultimatic nozzle shall have an automatic pressure control regulated to 100 PSI.
For corrosion resistance and durability the nozzle shall be constructed from hardcoat anodized aluminum alloy, both nozzles shall have six (6) position detent flow control stainless steel slide valves. A single pistol grip handle shall be positioned below the nozzles.
The nozzle shall have two (2) 1" female NH swivel couplings. The unit shall have a unique serial number and be covered by a written five-year warranty.

