
 LOW PRESSURE AUTOMATIC NOZZLE
Task Force Tips Ultimatic 125, model # BL-TO low pressure automatic nozzle tip shall be provided. The nozzle design shall allow for straight stream through dense wide fog patterns and be able to be flushed without shutting down. For corrosion resistance and durability the nozzle shall be constructed from hardcoat anodized aluminum alloy, a protective rubber bumper with fog teeth, stainless steel inlet debris screen, laser engraved serial number, and reflective labeling.
The nozzle shall have a 1" female NH rigid inlet coupling, a flow range of 10-100 GPM at 75 PSI and be designed to accept the Task Force Tips FJ-U low expansion or FJ-UMX FoamJet multi expansion foam attachments. The unit shall have a unique serial number and be covered by a written five-year warranty.

