
SELECTABLE GALLONAGE NOZZLE
Task Force Tips model # DQS40 QuadraFog selectable gallonage nozzle with shutoff shall be supplied. The nozzle shall be capable of producing a variety of stream patterns from a straight stream to a narrow fog or extremely wide fog. For corrosion resistance the nozzle shall be constructed from hardcoat anodized aluminum with stainless steel ball valve that has a quick change polymer seat. The nozzle shall be configured for flow settings of 5, 10, 24 and 40 GPM at 100 PSI, have a 1" female NH swivel rocker lug inlet and have the ability to flush without shutting down.
The nozzle shall be designed to accept the TFT FoamJet, FJ-DQ low expansion or FJ-MX-DQ multi-expansion aspirating attachments. The nozzle shall have reflective labeling, fixed or stainless steel spinning teeth, protective front bumper, laser engraved serial number and a five year warranty.

