
SMOOTH BORE INSERT KIT
Task Force Tips model # F140SBI smooth bore insert kit shall be provided. The inserts shall be made from polymer material and have the size of the orifice laser engraved on the device. The inserts shall be designed for use in the Task Force Tips 140 Series ball valves and VIT Series ball valves.
The following tip sizes shall be supplied: 7/8", 15/16", 1", 1-1/8" The unit shall be covered by a five-year warranty.

