
SINGLE GALLONAGE FOAM NOZZLE
Task Force Tips model # F95BC-IF Bubble Cup single gallonage foam nozzle shall be supplied. The nozzle shall be provided in a tip only configuration. The nozzle shall be capable of producing either a fog or straight stream with the ability to instantly aspirate foam by sliding a sleeve forward. For corrosion resistance the nozzle shall be constructed from hardcoat anodized aluminum. The nozzle shall be configured for a flow setting of 95 GPM at 100 PSI, have a 1-1/2" female NPSH rigid inlet and have a twist off position for break and extend operations. The unit shall be covered by a five-year warranty.


