
LOW PRESSURE SELECTABLE GALLONAGE FOAM NOZZLE
Task Force Tips model # FQ125BCL QuadraCup selectable gallonage foam nozzle shall be supplied. The nozzle shall be provided in a tip only configuration. The nozzle shall be capable of producing either a fog or straight stream with the ability to instantly aspirate foam by sliding a sleeve forward. For corrosion resistance the nozzle shall be constructed from hardcoat anodized aluminum. The nozzle shall have reflective labeling, fixed teeth, laser engraved serial number and a five year warranty. 
 The nozzle shall be configured for flow settings of 30, 60, 95 and 125 GPM at 75 PSI, have a 1-1/2" female NH rigid inlet and have a twist off position for break and extend operations. The unit shall have a unique serial number and be covered by a written five-year warranty.

