
 SELECTABLE GALLONAGE FOAM NOZZLE
Task Force Tips model # FQS125BC QuadraCup selectable gallonage foam nozzle with stainless steel shutoff ball shall be supplied. The nozzle shall be capable of producing either a fog or straight stream with the ability to instantly aspirate foam by sliding a sleeve forward. For corrosion resistance the nozzle shall be constructed from hardcoat anodized aluminum, utilize a stainless steel ball valve and have a quick change polymer valve seat.. The nozzle shall have reflective labeling, fixed teeth, laser engraved serial number and a five year warranty. 
 The nozzle shall be configured for flow settings of 30, 60, 95 and 125 GPM at 100 PSI, have a 1-1/2" female NH swivel inlet. 

