
LOW PRESSURE SELECTABLE GALLONAGE FOAM NOZZLE
Task Force Tips model # FQS125BCPL QuadraCup selectable gallonage foam nozzle with stainless steel shutoff ball shall be supplied. The nozzle shall be capable of producing either a fog or straight stream with the ability to instantly aspirate foam by sliding a sleeve forward. For corrosion resistance the nozzle shall be constructed from hardcoat anodized aluminum, utilize a stainless steel ball valve and have a quick change polymer valve seat. An integral pistol grip handle shall be positioned directly below the valve handle. The nozzle shall have reflective labeling, fixed teeth, laser engraved serial number and a five year warranty. 
 The nozzle shall be configured for flow settings of 30, 60, 95 and 125 GPM at 75 PSI, have a 1-1/2" female NH swivel inlet. 

