
STACKED NOZZLE TIP SET
Task Force Tips model # FS-2STACK smooth bore nozzle tip set shall be provided. The set shall include two (2) hardcoat anodized aluminum tips in the following sizes and configuration: 1" bore with 1-1/2" female NH inlet thread and 1-1/8" bore with 1-1/2" female NH inlet thread and 1-1/2" male NH outlet thread.
Each tip shall have a laser engraved pressure/flow chart. The unit shall be covered by a five-year warranty.

