
STACKED NOZZLE TIP SET
Task Force Tips model # FS-3STACK-IF smooth bore nozzle tip set shall be provided. The set shall include three (3) hardcoat anodized aluminum tips in the following sizes: 1", 1-1/8",  1-1/4". 
Each tip shall have a laser engraved pressure/flow chart and have 1-1/2" female NPSH threads. The 1-1/4 and 1-1/8 tips shall have 1-1/2" male NH threads so that all three tips can be kept together. The unit shall be covered by a five-year warranty.

