
SINGLE GALLONAGE FOAM NOZZLE
Task Force Tips model # FS95BC Bubble Cup single gallonage foam nozzle with stainless steel shutoff ball shall be supplied. The nozzle shall be capable of producing either a fog or straight stream with the ability to instantly aspirate foam by sliding a sleeve forward. For corrosion resistance the nozzle shall be constructed from hardcoat anodized aluminum, utilize a stainless steel ball valve and have a quick change polymer valve seat. The nozzle shall be configured for a flow setting of 95 GPM at 100 PSI, have a 1-1/2" female NH swivel rocker lug inlet and have a twist off position for positive shut off of the water flow. The unit shall have a unique serial number and be covered by a written five-year warranty.

