
SMOOTH BORE TIP
Task Force Tips model # FSS10 smooth bore nozzle tip shall be provided. The nozzle shall be constructed from hardcoat anodized aluminum alloy and have a smooth inside taper. The nozzle tip shall be configured with a 1-1/2" female NH inlet and 1-1/8" bore. Bore and thread size shall be laser engraved on the tip. The unit shall be covered by a five-year warranty.

