
PLAYPIPE WITH SHUTOFF
Task Force Tips model # H-2VPP playpipe with shutoff valve shall be provided. For corrosion resistance the valve body shall be constructed from hardcoat anodized aluminum extruded alloy. The playpipe shall have rubber coated wrap around handles to allow for reduced fatigue and a better grip during wet and cold weather operations. The shutoff shall be designed with a six (6) position detent (click stop) flow control handle.
The couplings shall be configured as a 2-1/2" female NH swivel with the ability to continuously swivel when tightened and a 1-1/2" male NH and be suitable for use with smooth bore tip, stack tip, or combination fog/straight stream nozzles or used for break-and-extend operations. The unit shall be covered by a five-year warranty.

