
NOZZLE SHUTOFF WITH SMOOTH BORES
Task Force Tips model # H-VITG nozzle with shutoff shall be provided. The shutoff shall be designed with a six (6) position detent (click stop) flow control handle. For corrosion resistance the valve body shall be constructed from hardcoat anodized aluminum extruded alloy. An integral pistol grip handle shall be positioned directly below the valve handle. The valve body shall be designed to accept user interchangeable smooth bore inserts. The inserts shall be made from polymer material and have the size of the orifice laser engraved on the insert.
The following sizes shall be supplied; 7/8", 15/16", 1", 1-1/8" or 1-3/8: waterway without insert.
The nozzle shall be designed to be used with 1-1/2" through 2" attack lines. The couplings shall be configured as a 1-1/2" female NH swivel with the ability to continuously swivel when tightened and a 1-1/2" male NH and be suitable for use with smooth bore tip, stack tip, or combination fog/straight stream nozzles or used for break-and-extend operations.

