
NOZZLE SHUTOFF
Task Force Tips model # H-VO ball valve shutoff shall be supplied. The shutoff shall be designed with a six (6) position detent (click stop) flow control handle. For corrosion resistance, the valve body shall be constructed from hardcoat anodized aluminum extruded alloy and Nylon shut off ball. The waterway shall have a 1-3/8" diameter unobstructed path and comply with the current NFPA 1964 Standard.
The couplings shall be configured as a 1-1/2" female NH rocker lug swivel inlet with the ability to continuously swivel when tightened and a 1-1/2" male NH outlet and be suitable for use with smooth bore tip, stack tip, or combination fog/straight stream nozzles or used for break-and-extend operations. The unit shall be covered by a five-year warranty.

