
LOW PRESSURE AUTOMATIC NOZZLE
Task Force Tips Mid Matic, model # HML-TOS low pressure automatic nozzle tip shall be provided. The nozzle design shall allow for straight stream through wide fog patterns and be able to be flushed without shutting down. For corrosion resistance and durability the nozzle shall be constructed from hardcoat anodized aluminum alloy, have a protective rubber bumper, stainless steel spinning fog teeth, stainless steel inlet debris screen, laser engraved serial number, reflective labeling and five year warranty.
The nozzle shall have a 1-1/2" female NH inlet with rocker lug coupling, a flow range of 70-200 GPM at 75 PSI and be designed to accept the Task Force Tips FJ-LX-HM low expansion or FJ-MX-HM multi expansion FoamJet foam attachments.

