
VIT ORIFICE KIT
Task Force Tips model VIT4-KIT valve integral tip orifice kit shall be provided. The orifice kit shall include parts to replace front end assembly on VIT models and shall be 1-1/8” diameter orifice size.

