
LOW LEVEL STRAINER JET SIPHON KIT
Task Force Tips model number JET-NF-KIT shall be provided. The jet siphon kit shall include parts needed to add a jet siphon to TFT low level strainer.  The hose inlet shall be 1-1/2” NH female thread and shall include a 1-1/2” NH male plug with lanyard. 

